# SECTION 23 05 00

# COMMON WORK RESULTS FOR HVAC

## PART 1 - GENERAL

[Note to specifier: Verify project requirements before using this section.]

### 1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract apply to this Section.

B. Related Sections:

1. Section 23 21 13 - Hydronic Piping

2. Section 23 31 13 - Metal Ducts

### 1.2 SUMMARY

A. Section includes general requirements for HVAC systems.

B. LEED Requirements: Comply with LEED EQ Credit 4.1 for indoor air quality.

### 1.3 REFERENCES

A. ASHRAE 90.1-2019 - Energy Standard for Buildings

B. SMACNA - HVAC Duct Construction Standards

C. California Mechanical Code 2019

D. ASCE 7-16 - Minimum Design Loads

[INSERT project-specific requirements here]

### 1.4 SUBMITTALS

A. Product Data: Submit manufacturer data for all equipment.

B. Shop Drawings: Submit for [SPECIFY systems].

Copyright © 2020 ARCOM MasterSpec. All rights reserved.

## PART 2 - PRODUCTS

### 2.1 EQUIPMENT

A. Provide equipment rated for seismic zone per ASCE 7-16.

B. Manufacturer: Trane Model XYZ-123 or approved equal.

## PART 3 - EXECUTION

### 3.1 INSTALLATION

A. Install per manufacturer requirements.

B. Coordinate with other trades.

C. Provide ___ inches clearance around equipment.

END OF SECTION